## 모델 결과
CRP Model Results (2026-05-04)
물리적: 산불(지수실패모형) + PhysRisk(가뭄/수자원) ¦ 전환: dispatch + phase-out ¦ K-ETS: 비활성
시나리오 | NPV (M USD) | IRR (%) | DSCR | 등급 | CRP (bps) | 물리적 영향 | 전환 영향
baseline | -1221 | 4.1 | 0.87 | BBB | 85 | — | —
moderate_transition | -1923 | 1.4 | 0.58 | BB | 205 | — | ✓
aggressive_transition | -2853 | -5.7 | 0.18 | BB | 205 | — | ✓
moderate_physical | -1227 | 4 | 0.87 | BBB | 85 | ✓ | —
high_physical | -1224 | 4 | 0.87 | BBB | 85 | ✓ | —
combined_moderate | -1928 | 1.4 | 0.58 | BB | 205 | ✓ | ✓
combined_aggressive | -2854 | -5.7 | 0.18 | BB | 205 | ✓ | ✓
low_demand | -1823 | 0.9 | 0.62 | BB | 205 | — | ✓
severe_drought | -1224 | 4 | 0.87 | BBB | 85 | ✓ | —
enhanced_11th_plan | -2316 | 1.2 | 0.3 | BB | 205 | — | ✓
enhanced_combined | -2320 | 1.2 | 0.3 | BB | 205 | ✓ | ✓

## 물리적 리스크 데이터
■ 산불 빈도/강도 (hazard_baselines)
hazard_type | base_frequency | base_intensity | intensity_unit | outage_rate | capacity_derate | efficiency_loss | damage_ratio | confidence_low | confidence_high | source | methodology | climada_events | climada_years
wildfire | 0.75 | 25 | FWI | 3.4e-05 | 0 | 0 | 0.0001 | 1.7e-05 | 5.1e-05 | CLIMADA WildFire + Korea Forest Service (2001-2023) | Outage = Freq × P(outage¦fire) × Duration / 8760 | 30 | 40
tropical_cyclone | 0 | 0 | m/s | 0 | 0 | 0 | 0 | 0 | 0 | DISABLED (source unverified) | No CLIMADA simulation performed for Samcheok site | 0 | 0
river_flood | 0 | 0 | m | 0 | 0 | 0 | 0 | 0 | 0.0001 | CLIMADA RiverFlood + ISIMIP (plant at 10m elevation) | Plant not in flood zone; residual risk only | 0 | 40
coastal_flood | 0 | 0 | m | 0 | 0 | 0 | 0 | 0 | 0 | DISABLED (plant at 10m elevation - no impact) | Surge + SLR cannot reach plant elevation | 0 | 0
drought | 0 | 0 | SPI | 0 | 0 | 0 | 0 | 0 | 0 | OS-Climate PhysRisk API (primary source) | CSV fallback disabled - use PhysRisk live results only | 0 | 0
heat_stress | 0 | 0 | C | 0 | 0 | 0 | 0 | 0 | 0 | DISABLED (source unverified) | KMA data referenced but not validated for Samcheok | 0 | 0
sea_level_rise | 0 | 0 | m | 0 | 0 | 0 | 0 | 0 | 0 | NASA/IPCC AR6 SLR projections for Korea | Impact via coastal flood frequency increase | 0 | 0
■ 기후변화 승수 (climate_factors, IPCC AR6)
scenario | year | wildfire | tropical_cyclone | river_flood | coastal_flood | drought | heat_stress | slr_meters | source
RCP4.5 | 2024 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | Baseline (current climate)
RCP4.5 | 2030 | 1.1 | 1.02 | 1.05 | 1.1 | 1.08 | 1.15 | 0.05 | IPCC AR6 WG1 Table 4.5 + KMA projections
RCP4.5 | 2050 | 1.3 | 1.05 | 1.15 | 1.25 | 1.2 | 1.5 | 0.15 | IPCC AR6 WG1 Table 4.5 + KMA projections
RCP4.5 | 2100 | 1.5 | 1.1 | 1.25 | 1.5 | 1.35 | 2 | 0.4 | IPCC AR6 WG1 Table 4.5 + KMA projections
RCP8.5 | 2024 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | Baseline (current climate)
RCP8.5 | 2030 | 1.15 | 1.03 | 1.08 | 1.15 | 1.12 | 1.2 | 0.07 | IPCC AR6 WG1 Table 4.8 + KMA + WWA
RCP8.5 | 2050 | 2 | 1.1 | 1.3 | 1.5 | 1.4 | 2.5 | 0.25 | IPCC AR6 WG1 Table 4.8 + KMA + WWA
RCP8.5 | 2100 | 4 | 1.2 | 1.5 | 2.5 | 1.8 | 5 | 0.8 | IPCC AR6 WG1 Table 4.8 + KMA + WWA
SSP1-2.6 | 2024 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | Baseline (current climate)
SSP1-2.6 | 2030 | 1.08 | 1.01 | 1.04 | 1.08 | 1.06 | 1.12 | 0.04 | IPCC AR6 WG1 Chapter 4
SSP1-2.6 | 2050 | 1.2 | 1.03 | 1.1 | 1.18 | 1.15 | 1.35 | 0.12 | IPCC AR6 WG1 Chapter 4
SSP1-2.6 | 2100 | 1.3 | 1.05 | 1.15 | 1.3 | 1.25 | 1.5 | 0.3 | IPCC AR6 WG1 Chapter 4
SSP2-4.5 | 2024 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | Baseline (current climate)
SSP2-4.5 | 2030 | 1.1 | 1.02 | 1.05 | 1.1 | 1.08 | 1.15 | 0.05 | IPCC AR6 WG1 Chapter 4
SSP2-4.5 | 2050 | 1.35 | 1.06 | 1.18 | 1.3 | 1.22 | 1.6 | 0.18 | IPCC AR6 WG1 Chapter 4
SSP2-4.5 | 2100 | 1.6 | 1.12 | 1.3 | 1.6 | 1.4 | 2.2 | 0.5 | IPCC AR6 WG1 Chapter 4
SSP5-8.5 | 2024 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | Baseline (current climate)
SSP5-8.5 | 2030 | 1.15 | 1.03 | 1.08 | 1.15 | 1.12 | 1.2 | 0.07 | IPCC AR6 WG1 Chapter 4
SSP5-8.5 | 2050 | 2.1 | 1.12 | 1.35 | 1.55 | 1.45 | 2.6 | 0.28 | IPCC AR6 WG1 Chapter 4
SSP5-8.5 | 2100 | 4.5 | 1.25 | 1.6 | 2.8 | 2 | 5.5 | 0.9 | IPCC AR6 WG1 Chapter 4
■ 정전 모형 파라미터 (outage_params, Choobineh 2015)
asset_type | failure_rate_per_hour | exposure_hours_low | exposure_hours_mid | exposure_hours_high | outage_duration_hours | source_lambda | source_duration
transmission_tower | 0.3 | 1 | 2 | 4 | 24 | Choobineh & Mohagheghi (2015) DOI:10.1016/j.firesaf.2015.02.006 Table 2 (steel tower 0.2-0.4) | KFS 산불통계연보 1991-2004 (KCI:ART001017472); large fire avg 18.5h; point transit sensitivity [1h 2h 4h]
wooden_pole_line | 0.7 | 1 | 2 | 4 | 24 | Choobineh & Mohagheghi (2015) DOI:10.1016/j.firesaf.2015.02.006 Table 2 (wooden pole 0.5-1.0) | KFS 산불통계연보 1991-2004 (KCI:ART001017472)
power_plant | 0.2 | 1 | 2 | 4 | 48 | Choobineh & Mohagheghi (2015) DOI:10.1016/j.firesaf.2015.02.006 (transformer/heavy equipment 0.2-0.4) | KFS 산불통계연보 1991-2004 (KCI:ART001017472)
substation | 0.3 | 1 | 2 | 4 | 36 | Choobineh & Mohagheghi (2015) DOI:10.1016/j.firesaf.2015.02.006 (transformer class) | KFS 산불통계연보 1991-2004 (KCI:ART001017472)
■ 피해함수 (damage_function_params, CLIMADA 참고)
hazard_type | function_type | threshold | i_half | exponent | max_damage | source | notes
tropical_cyclone | sigmoid | 25.7 | 74.7 | 3 | 1 | Emanuel (2011) calibrated to US hurricanes | Consider Korea-specific recalibration
wildfire | sigmoid | 20 | 45 | 3 | 1 | CLIMADA default + Korea Forest Service | FWI-based threshold
river_flood | sigmoid | 0.3 | 1.5 | 2 | 1 | Huizinga et al. (2017) + CLIMADA | Depth-damage function
coastal_flood | sigmoid | 0.5 | 2 | 2.5 | 1 | CLIMADA CoastalFlood | Storm surge + SLR
drought | linear | 1 | 2 | 1 | 0.3 | Literature review (Wilhite 2000) | SPI-based; max 30% derate
heat_stress | piecewise | 35 | 45 | 2 | 0.15 | IEA power plant efficiency | Temperature-efficiency curve

## 전환 리스크 데이터
■ 전환 시나리오 정의
scenario | dispatch_penalty | retirement_years | description | source
baseline | 0 | 40 | No policy intervention | default assumption
moderate_transition | 0.15 | 35 | Moderate coal penalties with 11th Basic Plan NDC targets | 11th Basic Plan NDC
aggressive_transition | 0.35 | 25 | Aggressive phase-out aligned with 2040 carbon neutrality | Presidential pledge 2040
■ 석탄 퇴출 일정 (11차 기본계획)
year | capacity_gw | capacity_factor | policy_reference
2024 | 26.7 | 0.65 | 11th Basic Plan baseline
2025 | 25 | 0.6 | 11th Basic Plan phase-down start
2030 | 18 | 0.45 | 11th Basic Plan target
2035 | 14 | 0.3 | 11th Basic Plan interpolation
2038 | 12.5 | 0.2 | 11th Basic Plan target
2040 | 0 | 0 | Presidential pledge 2040 탈석탄
■ 원전 확장 계획
phase | year | cumulative_capacity_gw | addition_gw | unit_type | source
0 | 2024 | 24.7 | 0 | existing | 11th Basic Plan baseline
1 | 2028 | 25.7 | 1 | large_unit | 11th Basic Plan - Shin Hanul 3
2 | 2032 | 28.1 | 2.4 | large_unit | 11th Basic Plan - Shin Hanul 4
3 | 2035 | 30.1 | 2 | smr | 11th Basic Plan - SMR deployment
■ 재생에너지 목표
year | solar_gw | wind_gw | hydro_gw | grid_stability_gw | battery_gw | source
2024 | 25 | 1.7 | 6.5 | 0 | 0 | 11th Basic Plan baseline
2030 | 39 | 10 | 6.5 | 15 | 20 | 11th Basic Plan target
2035 | 58 | 25 | 6.5 | 18 | 27 | 11th Basic Plan interpolation
2038 | 77.2 | 40.7 | 6.5 | 21.5 | 35 | 11th Basic Plan target
■ 전력수급기본계획 CF
year | total_coal_twh | total_demand_twh | coal_share_pct | implied_cf_samcheok | scenario_type | policy_reference | notes
2024 | 195 | 600 | 32.5 | 0.65 | historical | Actual 2023 KPX data | Baseline year - current operations
2025 | 185 | 615 | 30.08 | 0.6 | projection | 10th Power Plan | Official government projection
2026 | 177 | 625 | 28.32 | 0.575 | projection | 10th Power Plan interpolated | Linear interpolation
2027 | 168.5 | 640 | 26.33 | 0.548 | projection | 10th Power Plan interpolated | Linear interpolation
2028 | 160 | 655 | 24.43 | 0.52 | projection | 10th Power Plan | Official milestone
2029 | 145 | 665 | 21.8 | 0.485 | projection | NDC trajectory | Approaching 2030 NDC target
2030 | 130 | 675 | 19.26 | 0.45 | ndc_target | NDC 2030 + 10th Plan | Critical NDC commitment year
2031 | 125 | 685 | 18.25 | 0.43 | projection | 10th Power Plan interpolated | Post-NDC trajectory
2032 | 120 | 695 | 17.27 | 0.41 | projection | 10th Power Plan interpolated | Continued decline
2033 | 115 | 702.5 | 16.37 | 0.395 | projection | 10th Power Plan interpolated | Mid-period adjustment
2034 | 110 | 710 | 15.49 | 0.38 | projection | 10th Power Plan interpolated | Accelerating phase-down
2035 | 102.5 | 722.5 | 14.19 | 0.35 | projection | 10th Power Plan interpolated | Approaching 2036 target
2036 | 95 | 735 | 12.93 | 0.32 | plan_target | 10th Power Plan endpoint | Official plan endpoint
2037 | 90 | 747.5 | 12.04 | 0.3 | extrapolation | Post-plan linear decline | Conservative extrapolation
2038 | 85 | 755 | 11.26 | 0.28 | extrapolation | Net-zero trajectory | Consistent with carbon neutrality
2039 | 77.5 | 767.5 | 10.1 | 0.25 | extrapolation | Accelerated phase-out | Market forces + policy
2040 | 70 | 780 | 8.97 | 0.22 | extrapolation | Pre-phase-out period | Economic viability threshold
2041 | 62.5 | 790 | 7.91 | 0.195 | extrapolation | Declining economics | Below breakeven for many plants
2042 | 55 | 800 | 6.88 | 0.17 | extrapolation | Stranded asset zone | Uneconomic operation
2043 | 50 | 805 | 6.21 | 0.15 | extrapolation | Final operating period | Minimal dispatch
2044 | 45 | 812.5 | 5.54 | 0.135 | extrapolation | Near phase-out | Policy-driven closure imminent
2045 | 40 | 820 | 4.88 | 0.12 | phase_out_start | Phase-out acceleration | Active closure program
2046 | 32.5 | 830 | 3.92 | 0.095 | phase_out | Rapid decline | Mass closures
2047 | 25 | 840 | 2.98 | 0.07 | phase_out | Advanced phase-out | Few plants remaining
2048 | 18 | 848 | 2.12 | 0.05 | phase_out | Final phase | Emergency backup only
2049 | 12 | 854 | 1.41 | 0.032 | phase_out | Near-complete phase-out | Minimal capacity retained
2050 | 8 | 860 | 0.93 | 0.02 | carbon_neutrality | Net-zero 2050 target | Carbon neutrality achieved
2024 | 195 | 600 | 32.5 | 0.65 | official_11th_plan | 11th Basic Plan (Draft) | Baseline year
2025 | 180 | 615 | 29.27 | 0.58 | official_11th_plan | 11th Basic Plan (Draft) | Accelerated start
2026 | 170 | 625 | 27.2 | 0.55 | official_11th_plan | 11th Basic Plan (Draft) | Interpolated
2027 | 160 | 640 | 25 | 0.52 | official_11th_plan | 11th Basic Plan (Draft) | Interpolated
2028 | 150 | 655 | 22.9 | 0.49 | official_11th_plan | 11th Basic Plan (Draft) | Interpolated
2029 | 135 | 665 | 20.3 | 0.45 | official_11th_plan | 11th Basic Plan (Draft) | Pre-NDC acceleration
2030 | 120 | 675 | 17.78 | 0.4 | official_11th_plan | 11th Basic Plan (Draft) | NDC 2030 Target (Strengthened)
2031 | 110 | 685 | 16.06 | 0.37 | official_11th_plan | 11th Basic Plan (Draft) | Interpolated
2032 | 100 | 695 | 14.39 | 0.34 | official_11th_plan | 11th Basic Plan (Draft) | Interpolated
2033 | 90 | 702.5 | 12.81 | 0.31 | official_11th_plan | 11th Basic Plan (Draft) | Interpolated
2034 | 80 | 710 | 11.27 | 0.28 | official_11th_plan | 11th Basic Plan (Draft) | Interpolated
2035 | 70 | 722.5 | 9.69 | 0.25 | official_11th_plan | 11th Basic Plan (Draft) | Interpolated
2036 | 60 | 735 | 8.16 | 0.22 | official_11th_plan | 11th Basic Plan (Draft) | Plan Endpoint
2037 | 50 | 747.5 | 6.69 | 0.19 | official_11th_plan | 11th Basic Plan (Draft) | Extrapolated
2038 | 40 | 755 | 5.3 | 0.16 | official_11th_plan | 11th Basic Plan (Draft) | Extrapolated
2039 | 30 | 767.5 | 3.91 | 0.13 | official_11th_plan | 11th Basic Plan (Draft) | Extrapolated
2040 | 20 | 780 | 2.56 | 0.1 | official_11th_plan | 11th Basic Plan (Draft) | Extrapolated
2041 | 15 | 790 | 1.9 | 0.08 | official_11th_plan | 11th Basic Plan (Draft) | Extrapolated
2042 | 10 | 800 | 1.25 | 0.06 | official_11th_plan | 11th Basic Plan (Draft) | Extrapolated
2043 | 5 | 805 | 0.62 | 0.04 | official_11th_plan | 11th Basic Plan (Draft) | Extrapolated
2044 | 0 | 812.5 | 0 | 0 | official_11th_plan | 11th Basic Plan (Draft) | Phase-out Complete
■ K-ETS 탄소가격 [🚫 비활성]
year | carbon_price_krw | carbon_price_usd | phase | source
2024 | 0 | 0 | 0 | DISABLED - 무상할당/유상할당 비율 미확정. 비율 확정 후 활성화.
2025 | 0 | 0 | 0 | DISABLED
2026 | 0 | 0 | 0 | DISABLED
2027 | 0 | 0 | 0 | DISABLED
2028 | 0 | 0 | 0 | DISABLED
2029 | 0 | 0 | 0 | DISABLED
2030 | 0 | 0 | 0 | DISABLED
2031 | 0 | 0 | 0 | DISABLED
2032 | 0 | 0 | 0 | DISABLED
2033 | 0 | 0 | 0 | DISABLED
2034 | 0 | 0 | 0 | DISABLED
2035 | 0 | 0 | 0 | DISABLED
2036 | 0 | 0 | 0 | DISABLED
2037 | 0 | 0 | 0 | DISABLED
2038 | 0 | 0 | 0 | DISABLED
2039 | 0 | 0 | 0 | DISABLED
2040 | 0 | 0 | 0 | DISABLED
2041 | 0 | 0 | 0 | DISABLED
2042 | 0 | 0 | 0 | DISABLED
2043 | 0 | 0 | 0 | DISABLED
2044 | 0 | 0 | 0 | DISABLED
2045 | 0 | 0 | 0 | DISABLED
2046 | 0 | 0 | 0 | DISABLED
2047 | 0 | 0 | 0 | DISABLED
2048 | 0 | 0 | 0 | DISABLED
2049 | 0 | 0 | 0 | DISABLED
2050 | 0 | 0 | 0 | DISABLED

## 재무 및 신용 데이터
■ 삼척 발전소 파라미터
param_name | value | unit | description
capacity_mw | 2100 | MW | Total capacity (2 units x 1050MW)
capacity_factor | 0.6 | decimal | Base load capacity factor
efficiency | 0.39 | decimal | Supercritical efficiency (3.412/8.8)
fuel_cost_per_mwh | 45 | USD/MWh | Approximate coal cost
variable_opex | 5 | USD/MWh | Variable O&M
fixed_opex_per_kw | 35 | USD/kW-yr | Fixed O&M
variable_opex_per_mwh | 4.5 | USD/MWh | Variable O&M per MWh (alternative)
total_capex_million | 3550 | USD Million | Total project cost (4.9T KRW at 1380 KRW/USD Feb 2026)
construction_years | 5 | years | Construction duration
debt_fraction | 0.8 | decimal | Estimated debt financing share
equity_fraction | 0.2 | decimal | Estimated equity share
debt_interest_rate | 0.05 | decimal | Recent bond yield (6.1%)
debt_schedule_file | debt_repayment_schedule.csv | filename | Custom repayment profile
debt_tenor_years | 20 | years | Loan repayment period (fallback)
risk_free_rate | 0.035 | decimal | Korea 10Y Treasury
market_risk_premium | 0.06 | decimal | Korea Equity Risk Premium
beta | 1.2 | decimal | Utility sector beta (adjusted for coal risk)
corporate_tax_rate | 0.25 | decimal | Korea Corporate Tax Rate (25% effective Jan 2026)
tax_rate | 0.25 | decimal | Korea Corporate Tax Rate (alias)
useful_life | 30 | years | Economic life
operating_years | 40 | years | Total expected operating life
depreciation_years | 20 | years | Depreciation schedule
inflation_rate | 0.02 | decimal | Long-term inflation target
power_price_per_mwh | 80 | USD/MWh | Wholesale electricity price
heat_rate_mmbtu_mwh | 8.8 | MMBtu/MWh | Heat rate for supercritical coal plant
fuel_price_per_mmbtu | 5.74 | USD/MMBtu | Coal fuel price
emissions_tCO2_per_mwh | 0.82 | tCO2/MWh | Carbon emission intensity (SC coal at 8.8 heat rate)
discount_rate | 0.08 | decimal | Project discount rate for NPV
■ WACC 모델
param_name | value | unit | source
spread_slope_bps_per_pct | 50 | bps/% | Model assumption (reduced form credit model)
equity_slope_pct_per_pct | 0.8 | %/% | Model assumption (equity risk premium)
baseline_spread_bps | 150 | bps | Investment grade BBB baseline
risk_free_rate | 0.03 | fraction | Korea 10Y government bond yield 2024
debt_fraction | 0.7 | fraction | Typical project finance leverage
equity_fraction | 0.3 | fraction | Typical project finance equity
baseline_equity_rate | 0.12 | fraction | Korea coal project cost of equity estimate
■ 시장 시나리오
year | scenario | smp_usd_mwh | coal_price_usd_ton | carbon_price_usd_ton | cpi_index
2024 | baseline | 85 | 120 | 15 | 1
2025 | baseline | 84 | 115 | 18 | 1.02
2026 | baseline | 83 | 110 | 22 | 1.04
2027 | baseline | 82 | 105 | 25 | 1.06
2028 | baseline | 81 | 100 | 30 | 1.08
2029 | baseline | 80 | 95 | 35 | 1.1
2030 | baseline | 78 | 90 | 45 | 1.13
2031 | baseline | 77 | 88 | 50 | 1.15
2032 | baseline | 76 | 86 | 55 | 1.17
2033 | baseline | 75 | 84 | 60 | 1.2
2034 | baseline | 74 | 82 | 65 | 1.22
2035 | baseline | 73 | 80 | 70 | 1.25
2036 | baseline | 72 | 78 | 75 | 1.27
2037 | baseline | 71 | 76 | 80 | 1.3
2038 | baseline | 70 | 74 | 85 | 1.32
2039 | baseline | 69 | 72 | 90 | 1.35
2040 | baseline | 68 | 70 | 95 | 1.38
2041 | baseline | 67 | 68 | 100 | 1.4
2042 | baseline | 66 | 66 | 105 | 1.43
2043 | baseline | 65 | 64 | 110 | 1.46
2044 | baseline | 64 | 62 | 115 | 1.49
2045 | baseline | 63 | 60 | 120 | 1.52
2046 | baseline | 62 | 58 | 125 | 1.55
2047 | baseline | 61 | 56 | 130 | 1.58
2048 | baseline | 60 | 54 | 135 | 1.61
2049 | baseline | 59 | 52 | 140 | 1.64
2050 | baseline | 58 | 50 | 150 | 1.68
2024 | high_volatility | 95 | 140 | 20 | 1
2025 | high_volatility | 110 | 160 | 25 | 1.03
2026 | high_volatility | 105 | 150 | 30 | 1.06
2027 | high_volatility | 100 | 140 | 35 | 1.09
2028 | high_volatility | 95 | 130 | 40 | 1.12
2029 | high_volatility | 90 | 120 | 50 | 1.16
2030 | high_volatility | 85 | 110 | 60 | 1.19
2031 | high_volatility | 88 | 115 | 70 | 1.23
2032 | high_volatility | 92 | 120 | 80 | 1.26
2033 | high_volatility | 95 | 125 | 90 | 1.3
2034 | high_volatility | 98 | 130 | 100 | 1.34
2035 | high_volatility | 100 | 135 | 110 | 1.38
2036 | high_volatility | 102 | 140 | 120 | 1.42
2037 | high_volatility | 105 | 145 | 130 | 1.46
2038 | high_volatility | 108 | 150 | 140 | 1.51
2039 | high_volatility | 110 | 155 | 150 | 1.55
2040 | high_volatility | 112 | 160 | 160 | 1.6
2041 | high_volatility | 115 | 165 | 170 | 1.65
2042 | high_volatility | 118 | 170 | 180 | 1.7
2043 | high_volatility | 120 | 175 | 190 | 1.75
2044 | high_volatility | 122 | 180 | 200 | 1.8
2045 | high_volatility | 125 | 185 | 210 | 1.85
2046 | high_volatility | 128 | 190 | 220 | 1.91
2047 | high_volatility | 130 | 195 | 230 | 1.97
2048 | high_volatility | 132 | 200 | 240 | 2.03
2049 | high_volatility | 135 | 205 | 250 | 2.09
2050 | high_volatility | 138 | 210 | 260 | 2.15
■ 신용등급 임계값
metric | threshold_min | threshold_max | rating | source
capacity_mw | 2000 | 999999 | AAA | KIS credit methodology
capacity_mw | 800 | 2000 | AA | KIS credit methodology
capacity_mw | 400 | 800 | A | KIS credit methodology
capacity_mw | 100 | 400 | BBB | KIS credit methodology
capacity_mw | 20 | 100 | BB | KIS credit methodology
capacity_mw | 0 | 20 | B | KIS credit methodology
ebitda_fixed_assets_pct | 15 | 999 | AAA | KIS credit methodology
ebitda_fixed_assets_pct | 11 | 15 | AA | KIS credit methodology
ebitda_fixed_assets_pct | 8 | 11 | A | KIS credit methodology
ebitda_fixed_assets_pct | 4 | 8 | BBB | KIS credit methodology
ebitda_fixed_assets_pct | 1 | 4 | BB | KIS credit methodology
ebitda_fixed_assets_pct | 0 | 1 | B | KIS credit methodology
ebitda_fixed_assets_pct | -10 | 0 | B | KIS credit methodology (negative)
ebitda_fixed_assets_pct | -20 | -10 | CCC | KIS credit methodology (distressed)
ebitda_fixed_assets_pct | -999 | -20 | CC | KIS credit methodology (severe distress)
coverage_ratio | 12 | 999 | AAA | KIS credit methodology
coverage_ratio | 6 | 12 | AA | KIS credit methodology
coverage_ratio | 4 | 6 | A | KIS credit methodology
coverage_ratio | 2 | 4 | BBB | KIS credit methodology
coverage_ratio | 1 | 2 | BB | KIS credit methodology
coverage_ratio | 0.5 | 1 | B | KIS credit methodology
coverage_ratio | 0 | 0.5 | CCC | KIS credit methodology (distressed)
coverage_ratio | -2 | 0 | CC | KIS credit methodology (distressed)
coverage_ratio | -5 | -2 | C | KIS credit methodology (near default)
coverage_ratio | -999 | -5 | D | KIS credit methodology (default)
dscr | 2.5 | 999 | AAA | Moody's Global Infrastructure Finance (2021)
dscr | 2 | 2.5 | AA | Moody's Global Infrastructure Finance (2021)
dscr | 1.6 | 2 | A | S&P Project Finance Criteria (2022)
dscr | 1.3 | 1.6 | BBB | S&P Project Finance Criteria (2022)
dscr | 1.1 | 1.3 | BB | S&P Project Finance Criteria (2022)
dscr | 1 | 1.1 | B | S&P Project Finance Criteria (2022)
dscr | 0.8 | 1 | CCC | S&P Project Finance Criteria (2022)
dscr | 0.5 | 0.8 | CC | S&P Project Finance Criteria (2022)
dscr | 0 | 0.5 | C | S&P Project Finance Criteria (2022)
dscr | -999 | 0 | D | S&P Project Finance Criteria (2022)
■ 등급→스프레드
rating | spread_bps | source
AAA | 50 | Bloomberg US Corporate Bond Index 2020-2024 average
AA | 100 | Bloomberg US Corporate Bond Index 2020-2024 average
A | 150 | Bloomberg US Corporate Bond Index 2020-2024 average
BBB | 250 | Bloomberg US Corporate Bond Index 2020-2024 average
BB | 400 | Bloomberg US Corporate Bond Index 2020-2024 average
B | 600 | Bloomberg US Corporate Bond Index 2020-2024 average
CCC | 900 | Bloomberg US Corporate Bond Index 2020-2024 average (distressed)
CC | 1500 | Distressed debt trading levels
C | 2500 | Distressed debt deep distress
D | 5000 | Default recovery value pricing

## 흐름도 및 근거
CRP MODEL — 데이터 흐름 및 근거
━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━
A. 물리적 리스크 — 산불 (유일한 검증 채널)
━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━
STEP 1: freq = 0.75 events/year
데이터: hazard_baselines.csv → wildfire → base_frequency
근거: CLIMADA WildFire + NASA FIRMS 위성 (2001-2023, 삼척 30km 반경)
상태: 🟡 CLIMADA live=1.0과 불일치. 방법론 정리 필요.
STEP 2: × climate_factor (SSP 승수)
데이터: climate_factors.csv → wildfire 컬럼 (예: RCP8.5 2050 = 2.00)
근거: 적힌 출처 'IPCC AR6 Table 4.5/4.8' — 실제 해당 테이블에 산불 승수 없음
상태: 🔴 출처 허위. 진짜 근거 찾아야 함 (ISIMIP? KACCC? 자체추정 인정?).
STEP 3: × P(outage¦event) = 1 - exp(-λ × t) = 1 - exp(-0.2×2) = 0.33
데이터: outage_params.csv → power_plant → λ=0.20, t=2.0h
근거: λ = Choobineh & Mohagheghi (2015) DOI:10.1016/j.firesaf.2015.02.006 Table 2
t = KFS 산불통계연보 (KCI:ART001017472) 대형산불 18.5h 기반 추정
상태: ✅ λ는 DOI 검증됨. 🟡 t=2h는 감도분석 가정.
STEP 4: × (outage_duration=48h) / 8760 = 연간 비율 변환
데이터: outage_params.csv → power_plant → outage_duration_hours=48
근거: 발전소 정전 복구시간. 구체적 출처 미기재.
상태: 🔴 근거 부족. KEPCO 정전통계 확인 필요.
RESULT: outage_rate ≈ 0.75 × 1.20 × 0.33 × (48/8760) = 0.00163 (연 14.3h)
+ PhysRisk (가뭄/수자원): OS-Climate API (CMIP6) → 0.1~0.5% (미미)
상태: ✅ 글로벌 기후모델 기반. 검증됨.
━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━
B. 전환 리스크 — 정책으로 전기 판매 감소
━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━
dispatch_priority_penalty = 0.15 (moderate) / 0.35 (aggressive)
데이터: transition_scenarios.csv
근거: 없음. 모델 내부 가정. 11차 기본계획에 이 개념 자체가 없음.
상태: 🔴 순수 가정. 논문에 'model assumption' 명시 필요.
coal_phase_out: 2040년 0GW
데이터: coal_phase_out_schedule.csv
근거: 대통령 공약. 법제화 안 됨.
상태: 🟡 정책 리스크. '공약 기반 시나리오'로 명시.
K-ETS 탄소비용: 🚫 비활성 (전체 0원)
이유: 무상할당/유상할당 비율 미확정. 비율 없이 가격만 적용 시 과대추정.
━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━
C. 재무 모델 → CRP
━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━
Revenue = Capacity(2100MW) × CF × (1-outage) × (1-derate) × water × price
EBITDA = Revenue - Fuel - O&M - Carbon(=0)
DSCR = EBITDA / Debt Service → Rating → Spread → CRP
plant_parameters.csv: 28개 파라미터 (source 컬럼 없음)
상태: 🔴 capex, fuel_cost, discount_rate 등 출처 없음.
💥 내부 모순: risk_free=3.5% vs 3.0%, debt=80% vs 70%, price=80 vs 85
credit_rating: DSCR ≥2.5→AAA, ≥2.0→AA, ≥1.6→A, ≥1.3→BBB ...
상태: 🟡 'KIS/Moody's/S&P' 인용. 보고서 페이지 미특정.
━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━
요약: 🔴 출처없음 ~40% ¦ 🟡 모호 ~40% ¦ ✅ 검증됨 ~5% ¦ 💥 모순 6건
━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━━